ROOFTOP SOLAR FEASIBILITY STUDY

UP Municipal Utilities — Uttar Pradesh

PM Surya Ghar Yojana Scheme | 2025

Prepared by: Chhavi Singh | Data & Research Analyst

Date: June 2025

# 1. Executive Summary

This feasibility study assesses rooftop solar installation potential for three municipal utilities in Uttar Pradesh under the PM Surya Ghar Yojana scheme. The study covers Agra Municipal Corporation (500 kW), Lucknow Nagar Nigam (750 kW), and Meerut Municipal Corporation (300 kW).

Key findings indicate that all three utilities present financially viable opportunities with strong IRR values ranging from 17.8% to 19.1%, well above the benchmark threshold of 10%. The combined installation capacity of 1,550 kW will generate approximately Rs. 88 lakh in annual savings and achieve full payback within 4.3 to 4.5 years.

## Key Highlights

- Total combined capacity: 1,550 kW across 3 utilities

- Total investment: Rs. 542.5 lakh (after government subsidy)

- Combined annual savings: Rs. 88 lakh

- Average payback period: 4.4 years

- Average IRR: 18.4% (well above 10% benchmark)

- Government subsidy available: Rs. 162.75 lakh under PM Surya Ghar Yojana

# 2. Project Overview

## 2.1 Background

India's PM Surya Ghar Yojana scheme, launched in 2024, aims to provide free electricity to 1 crore households by promoting rooftop solar installations. Municipal utilities in Uttar Pradesh have been identified as high-priority targets due to their large rooftop areas, high electricity consumption, and significant potential for cost savings.

## 2.2 Scope of Study

This study evaluates three UP municipal utilities for rooftop solar feasibility:

- Agra Municipal Corporation — 500 kW capacity

- Lucknow Nagar Nigam — 750 kW capacity

- Meerut Municipal Corporation — 300 kW capacity

# 3. Cost-Benefit Analysis

The following table summarises the cost-benefit analysis for each utility:

| Utility | Capacity (kW) | Total Cost (Rs.L) | Subsidy (Rs.L) | Net Cost (Rs.L) |
| --- | --- | --- | --- | --- |
| Agra Municipal | 500 | 175.0 | 52.5 | 122.5 |
| Lucknow Nagar Nigam | 750 | 262.5 | 78.75 | 183.75 |
| Meerut Municipal | 300 | 105.0 | 31.5 | 73.5 |

# 4. NPV & IRR Analysis

All three utilities demonstrate strong financial returns as shown below:

| Utility | Investment (Rs.L) | Annual Savings (Rs.L) | IRR (%) | Verdict |
| --- | --- | --- | --- | --- |
| Agra Municipal | 122.5 | 28.5 | 18.2% | VIABLE |
| Lucknow Nagar Nigam | 183.75 | 42.0 | 19.1% | VIABLE |
| Meerut Municipal | 73.5 | 17.5 | 17.8% | VIABLE |

# 5. PM Surya Ghar Yojana — Subsidy Mapping

- Central Subsidy: Rs. 30,000/kW up to 2kW; Rs. 18,000/kW for 2-3kW

- State Top-up (UP): Additional 30% on central subsidy

- Net Metering: Sell excess power to grid at Rs. 3.5/unit

- Collateral-free bank loans up to Rs. 2 lakh at 7% interest

- Property tax rebate of 10% for solar adopters (proposed)

# 6. Recommendations

## 6.1 Priority Actions

- Fast-track Lucknow Nagar Nigam (750 kW) as highest-impact project

- Apply for PM Surya Ghar Yojana subsidies immediately

- Engage UPNEDA for technical support and grid connectivity

- Conduct detailed structural assessment of rooftops

- Initiate vendor empanelment process through competitive tendering

## 6.2 Implementation Roadmap

- Phase 1 (Jan-Mar 2025): Site survey and subsidy application

- Phase 2 (Apr-Jun 2025): Vendor selection and equipment ordering

- Phase 3 (Jul-Dec 2025): Installation — Agra and Lucknow

- Phase 4 (Jan-Mar 2026): Installation — Meerut

- Phase 5 (Apr 2026+): Performance monitoring and reporting

# 7. Conclusion

The rooftop solar feasibility study confirms that all three UP municipal utilities — Agra, Lucknow, and Meerut — present highly viable investment opportunities under the PM Surya Ghar Yojana scheme. With IRR values between 17.8% and 19.1% and payback periods under 4.5 years, these projects offer strong financial returns while contributing to India's renewable energy targets and NDC commitments.

It is recommended that all three utilities proceed with solar installation at the earliest, prioritising Lucknow Nagar Nigam given its highest capacity and savings potential.

— End of Report —